Questionnaire for the bulk product volume and level
measuring systems.

Application number (to be filled in by dealer)

Customer contact details:

Organization

Contact person

Position

E-mail

Phone

Number of tanks:		pcs.

Information about the product to be measured:

name

angle of repose 		   deg.

Ex certificates required?

Temperature in the level transmitter installation area:	min.°C	max. °C

Tank pressure:

Other (relative):

min. max.

Expected configuration:

number of level transmitters per tank:

ULM-3D-5		pcs.

ULM-31/ULM-11	pcs.

Tank type and dimensions:

| A | m |
| --- | --- |
| B | m |
| C | m |
| D | m |
| E | m |
| F | m |

| A | m |
| --- | --- |
| B | m |
| C | m |
| D | m |
| E | m |
| F | m |
| G | m |
| H | m |
| I | m |

Main differences between the actual tank and the above markedoption:

Describe the main differences between the tank and the standard shape (selected above), if any. If the differences are significant, attach drawings and/or sketches and/or photos indicating the differences or showing the entire tank with the main dimensions.

Detailed information:

Roof:

- It is necessary to attach the roof drawings or sketches (see example below) indicating the following:

- places specified for the level transmitter installation (if any)

- areas allowed for the level transmitter installation

- areasprohibited for the level transmitter installation

- places of backfill\filling with dimensions

-metal structures above and under the roof, indicating the dimensions andlocation.

- Specify the roof thickness (without metal structures, etc.) m.

- Attach photos (if available)

Tank body:

- If there are protruding structures (stairs, stiffeners, etc.) inside the tank, attach drawings and/or sketches and/or photos indicating the structure position and dimensions

Lower part of the tank:

- It is necessary to attach drawings and/or sketches and/or photos of the lower part indicating the following:

- protruding structures (dividers, gates, stiffeners, etc.) with dimensions

- places of unloading/pouring with dimensions

Examples of attachment:

Example 1: rectangular tank roof

Example 2: circular tank roof